## Meas Data
Device Name: | MPDS5-99999913
Line Name: | Line 1
Product Type: | Beer 1
Product Name: | Product 1
Timestamp | Alcohol 20 °C [% v/v] | Original Extract [°Plato] | Real Extract [°Plato] | Density 20 °C [kg/m³] | CO2 Carbo Package [g/l] | App.Degree Ferment. [%] | Real Degree Ferment. [%] | Temperature [°C] | Apparent Extract [°Plato] | CO2 Carbo [g/l] | Spec. Gravity 20 °C [-] | CO2 Carbo Pressure [Pa] | Pres. Gravity 20 °C [-] | Density 15 °C [kg/m³] | Alcohol 15 °C [% v/v] | Air-N2-O2 [mg/l] | Original Gravity [-] | Density [kg/m³] | Pressure Line Carbo [Pa] | Pressure Gas Carbo [Pa] | Sound Velocity [m/s] | CO2 for Compens. [g/l] | Pressure Carbo [Pa] | Temperature Carbo [°C] | Density CO2 Comp. [kg/m³] | Sound Vel. CO2 Comp. [m/s] | Alcohol [% w/w] | Real Degree Ferm.USA [%] | Calories kcal/12oz [kcal/w] | Real Ext./Alc. Ratio [-] | Alc./Real Ext. Ratio [-] | Temperature °F [°F] | Conductivity [mS/cm] | Oxygen [mg/l] | Counter 1 [-] | Counter 2 [-] | O2 [mg/l] | N2 [mg/l] | CO2 AI [g/l] | PH AI [-] | Color AI [Color Units (CU)] | Turbidity AI [EBC] | Pressure AI [Pa] | Volume Flow Rate AI [m³/s] | Generic AI 1 [-] | Generic AI 2 [-] | Generic AI 3 [-] | Error Carbo [-] | Hold [-] | Flowstop [-]
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.02.2013 10:00:00.0 | 4.9046 | 10.7565 | 3.2299 | 1003.7914 | 0 | 86.6334 | 69.9726 | 9.854 | 1.4378 | 0 | 1.0056 | 0 | 5.5975 | 1004.7459 | 4.885 | 0 | 43.1914 | 1006.8257 | 0 | 0 | 1500.4141 | 5 | 0 | 0 | 1005.4568 | 1496.7114 | 3.8563 | 71.1588 | 139.5384 | 0.83757 | 1.1939 | 49.7373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Misc Data
Device Name: | MPDS5-99999913
Line Name: | Line 1
Product Type: | Beer 1
Product Name: | Product 1
SystemStatus | DeviceStatus | LineStatus | Timestamp | Comment | Calibration |  |  |  |  | Adjustment
[5 empty] | User Name | Channel | Saved Value | Reference Value | Deviation | User Name | Channel | Average Deviation | Original Gain | New Gain
9999 | 0 | 0 | 19.02.2013 10:00:00.0 | Dummy Comment
10000 | 0 | 0 | 19.02.2013 10:00:00.0 |  | BLA | Temperature [°C] | 9.854 | 10 | -0.14597
19999 | 0 | 0 | 19.02.2013 10:00:00.0 | [6 empty] | BLA | Temperature [°C] | -0.14597 | 1 | 1.0148
20000 | 0 | 0 | 19.02.2013 10:00:00.0 | Dummy Comment
29999 | 0 | 0 | 19.02.2013 10:00:00.0 |  | BLA | Temperature [°C] | 9.854 | 10 | -0.14597
0 | 9999 | 0 | 19.02.2013 10:00:00.0 | [6 empty] | BLA | Temperature [°C] | -0.14597 | 1 | 1.0148
0 | 10000 | 0 | 19.02.2013 10:00:00.0 | Dummy Comment
0 | 19999 | 0 | 19.02.2013 10:00:00.0 |  | BLA | Temperature [°C] | 9.854 | 10 | -0.14597
0 | 20000 | 0 | 19.02.2013 10:00:00.0 | [6 empty] | BLA | Temperature [°C] | -0.14597 | 1 | 1.0148
0 | 29999 | 0 | 19.02.2013 10:00:00.0 | Dummy Comment
0 | 0 | 9999 | 19.02.2013 10:00:00.0 |  | BLA | Temperature [°C] | 9.854 | 10 | -0.14597
0 | 0 | 10000 | 19.02.2013 10:00:00.0 | [6 empty] | BLA | Temperature [°C] | -0.14597 | 1 | 1.0148
0 | 0 | 19999 | 19.02.2013 10:00:00.0 | Dummy Comment
0 | 0 | 20000 | 19.02.2013 10:00:00.0 |  | BLA | Temperature [°C] | 9.854 | 10 | -0.14597
0 | 0 | 29999 | 19.02.2013 10:00:00.0 | [6 empty] | BLA | Temperature [°C] | -0.14597 | 1 | 1.0148